{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1 (2)","Sheet1"],"not_rendered":{"charts":2,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1 (2)","index":0,"n_rows":54,"n_cols":8,"rows_kept":54,"cut":false,"hidden":false,"merged":[[5,4,5,7]]}
[{"$nulls":4},"M"]
["QD800 streptavidin",null,1,"microM",{"$f":"10^-6","v":1E-006}]
["NT-proBNP",null,10000,"pg/ml",{"$f":"0.12*10^-10","v":1.2E-011}]
["[QD] to cover NTproBNP concentration",null,null,null,{"$f":"E3/5","v":2.4E-012}]
[]
[{"$nulls":4},"preparation"]
["solutions name","[M]","V microL","V ml","Vml from stock sol","V microL","from stock sol","PBS V"]
[0,{"$f":"10^-6","v":1E-006},20,0.02,"-","-","-","-"]
["A",{"$f":"10^-8","v":1E-008},200,{"$f":"C9/1000","v":0.2},{"$f":"B9*D9/B8","v":0.002},{"$f":"E9*1000","v":2},0,{"$f":"C9-F9","v":198}]
{"$rows_empty":10}
["0,5mA","background","with sample","signal","[QD]"]
["A",94,333,{"$f":"C21-B21","v":239},{"$f":"B9","v":1E-008},"10nM",10]
["A/2",111,295,{"$f":"C22-B22","v":184},{"$f":"E21/2","v":5E-009},"5nM",5]
["A/4",95,240,{"$f":"C23-B23","v":145},{"$f":"E22/2","v":2.5E-009},"2,5nM",2.5]
["A/8",111,140,{"$f":"C24-B24","v":29},{"$f":"E23/2","v":1.25E-009},"1,25nM",1.25]
["A/16",130,141,{"$f":"C25-B25","v":11},{"$f":"E24/2","v":6.25E-010},"0,63nM",0.63]
["A/32",135,139,{"$f":"C26-B26","v":4},{"$f":"E25/2","v":3.125E-010},"0,32nM",0.32]
[{"$nulls":4},{"$f":"E26/2","v":1.5625E-010},"0,16nM",0.16]
["1mA","background","with sample","signal"]
["A",175,1170,{"$f":"C29-B29","v":995}]
["A/2",290,517,{"$f":"C30-B30","v":227}]
["A/4",184,323,{"$f":"C31-B31","v":139}]
["A/8",202,272,{"$f":"C32-B32","v":70},null,{"$f":"10^-8/64","v":1.5625E-010}]
["A/16",170,200,{"$f":"C33-B33","v":30}]
["A/32",185,195,{"$f":"C34-B34","v":10}]
["A/64",198,206,{"$f":"C35-B35","v":8}]
[]
[]
["2mA","background","with sample","signal"]
["A",364,3211,{"$f":"C39-B39","v":2847}]
["A/2",369,1275,{"$f":"C40-B40","v":906}]
["A/4",390,775,{"$f":"C41-B41","v":385}]
["A/8",310,385,{"$f":"C42-B42","v":75}]
["A/16",310,350,{"$f":"C43-B43","v":40}]
["A/32",267,304,{"$f":"C44-B44","v":37}]
["A/64",318,335,{"$f":"C45-B45","v":17}]
[]
["Concentration ","0.5 mA","1 mA","2 mA"]
[{"$f":"B9","v":1E-008},{"$f":"C21-B21","v":239},{"$f":"C29-B29","v":995},{"$f":"C39-B39","v":2847}]
[{"$f":"A48/2","v":5E-009},{"$f":"C22-B22","v":184},{"$f":"C30-B30","v":227},{"$f":"C40-B40","v":906}]
[{"$f":"A49/2","v":2.5E-009},{"$f":"C23-B23","v":145},{"$f":"C31-B31","v":139},{"$f":"C41-B41","v":385}]
[{"$f":"A50/2","v":1.25E-009},{"$f":"C24-B24","v":29},{"$f":"C32-B32","v":70},{"$f":"C42-B42","v":75}]
[{"$f":"A51/2","v":6.25E-010},{"$f":"C25-B25","v":11},{"$f":"C33-B33","v":30},{"$f":"C43-B43","v":40}]
[{"$f":"A52/2","v":3.125E-010},{"$f":"C26-B26","v":4},{"$f":"C34-B34","v":10},{"$f":"C44-B44","v":37}]
[{"$f":"A53/2","v":1.5625E-010},{"$f":"C27-B27","v":0},{"$f":"C35-B35","v":8},{"$f":"C45-B45","v":17}]

{"sheet":"Sheet1","index":1,"n_rows":16,"n_cols":9,"rows_kept":16,"cut":false,"hidden":false,"merged":[[5,4,5,7]]}
[{"$nulls":4},"M"]
["QD800 streptavidin",null,1,"microM",{"$f":"10^-6","v":1E-006}]
["NT-proBNP",null,10000,"pg/ml",{"$f":"0.12*10^-10","v":1.2E-011}]
["[QD] to cover NTproBNP concentration",null,null,null,{"$f":"E3/5","v":2.4E-012}]
[]
[{"$nulls":4},"preparation"]
["solutions name","[M]","V microL","V ml","Vml from stock sol","V microL","from sol stock","PBS V","number of samples"]
["A",{"$f":"10^-6","v":1E-006},20,0.02,"-","-","-","-"]
["B",{"$f":"10^-8","v":1E-008},200,{"$f":"C9/1000","v":0.2},{"$f":"B9*D9/B8","v":0.002},{"$f":"E9*1000","v":2},"A",{"$f":"C9-F9","v":198},{"$f":"(C9-E11-E10)/20","v":9.99965}]
["C",{"$f":"10^-9","v":1E-009},60,{"$f":"C10/1000","v":0.06},{"$f":"B10*D10/B9","v":0.006},{"$f":"E10*1000","v":6},"B",{"$f":"C10-F10","v":54},{"$f":"C10/20","v":3}]
["D",{"$f":"10^-10","v":1E-010},100,{"$f":"C11/1000","v":0.1},{"$f":"B11*D11/B9","v":0.001},{"$f":"E11*1000","v":1},"B",{"$f":"C11-F11","v":99},{"$f":"(C11-E12)/20","v":4.9997}]
["E",{"$f":"10^-11","v":1E-011},60,{"$f":"C12/1000","v":0.06},{"$f":"B12*D12/B11","v":0.006},{"$f":"E12*1000","v":6},"C",{"$f":"C12-F12","v":54},{"$f":"(C12-E13-E14)/20","v":2.99967}]
["F",{"$f":"10^-12","v":1E-012},60,{"$f":"C13/1000","v":0.06},{"$f":"B13*D13/B12","v":0.006},{"$f":"E13*1000","v":6},"E",{"$f":"C13-F13","v":54},{"$f":"(C13)/20","v":3}]
["G",{"$f":"10^-13","v":1E-013},60,{"$f":"C14/1000","v":0.06},{"$f":"B14*D14/B12","v":0.0006},{"$f":"E14*1000","v":0.6},"E",{"$f":"C14-F14","v":59.4},{"$f":"(C14)/20","v":3}]
[null,null,null,{"$f":"C15/1000","v":0},{"$f":"B15*D15/B14","v":0},{"$f":"E15*1000","v":0}]
[{"$nulls":7},"total",{"$f":"3*6","v":18}]